# Algorithm Determinations

### KAIv2 - Validated on 01/18/2022

| Determination (what is shown on UI) | Result Screen Determination Info | Values Returned From “enum AliveCorDetermination” |
| --- | --- | --- |
| Normal Sinus Rhythm | Indicates normal sinus rhythm with no rhythm or heart rate abnormalities detected; your heart rate was 50-100 beats per minute (bpm). | SINUS_RHYTHM |
| Sinus Rhythm with Wide QRS | Your EKG shows sinus rhythm with Wide QRS. This can be present in healthy adults and in adults with heart conditions. | SINUS_RHYTHM_WIDE_QRS |
| Sinus Rhythm with Premature Ventricular Contractions | Your EKG shows sinus rhythm with occasional premature ventricular contractions (PVCs). This can be present in healthy adults and in adults with heart conditions. | SINUS_RHYTHM_PVCS |
| Sinus Rhythm with Supraventricular Ectopy | Your EKG shows sinus rhythm with occasional supraventricular ectopy (SVE). This can be present in healthy adults and in adults with heart conditions. | SINUS_RHYTHM_PACS |
| Bradycardia | Your heart rate is less than 50 beats per minute, which is slower than normal for most people. Atrial fibrillation was not detected. | BRADYCARDIA |
| Tachycardia | Your heart rate is faster than 100 beats per minute. This can be normal with stress or physical activity. Atrial fibrillation was not detected. | TACHYCARDIA |
| Atrial Fibrillation | Indicates atrial fibrillation, an irregular heart rhythm, was detected in the EKG. This finding can be detected at any heart rate. | AFIB |
| Unclassified | Atrial fibrillation was not detected and your EKG does not fall under the algorithmic classifications of Normal, Bradycardia, or Tachycardia. This may be caused by other arrhythmias, unusually fast or slow heart rates, or poor quality recordings. | UNCLASSIFIED |
| Unreadable | There is too much interference in this recording. Please re-record the EKG. Try to relax and hold still, rest your arms, or move to a quiet location or away from electronics and machinery. | UNREADABLE |
| Too short | Your EKG recording must be at least 30 seconds to allow Instant Analysis algorithms to perform an analysis. | SHORT |
| No Analysis | There is no Instant Analysis for this EKG. | NO_ANALYSIS |

### KAIv1 - Validated on 01/20/2022

| Determination | Result Screen Determination Info | Values Returned From “enum AliveCorDetermination” |
| --- | --- | --- |
| Normal Sinus Rhythm | No rhythm abnormalities detected in your EKG. | NORMAL |
| Bradycardia | Your heart rate is less than 50 beats per minute, which is slower than normal for most people. Atrial fibrillation was not detected. | BRADYCARDIA |
| Tachycardia | Your heart rate is faster than 100 beats per minute. This can be normal with stress or physical activity. Atrial fibrillation was not detected. | TACHYCARDIA |
| Possible Atrial Fibrillation | Your EKG shows signs of Atrial fibrillation. | AFIB |
| Unclassified | Atrial fibrillation was not detected and your EKG does not fall under the algorithmic classifications of Normal, Bradycardia, or Tachycardia. This may be caused by other arrhythmias, unusually fast or slow heart rates, or poor quality recordings. | UNCLASSIFIED |
| Unreadable | There is too much interference in this recording. Please re-record the EKG. Try to relax and hold still, rest your arms, or move to a quiet location away from electronics and machinery. | UNREADABLE |
| Too Short | Your EKG recording must be at least 30 seconds to allow Instant Analysis algorithms to perform an analysis. | SHORT |
| No Analysis | There is too much interference in this recording to provide an analysis. | NO_ANALYSIS |