Instructions for filling out 19VAP9.2

General:

A separate test report with screen capture is required for each SDK you are launching (Android and iOS).  If only using one of these, a single report will be sufficient.

Many tests require screen shots.  Make sure to include screen shots for the tests that specify to do so for all devices.   If possible, imbedding a screen capture picture in the appropriate results column makes it easy to follow.   Otherwise a separate page at the end with all the screenshots labeled by test case is fine.

Section 10.1:  Make sure and fill out the first three fields.  Leave the last two signature fields blank as these will be completed via DocuSign.

Section 10.2: Fill out as instructed below, but only for the devices you are using.  Leave unused devices blank.

| KardiaMobile 6L Device Hardware Version | See picture for location. |
| --- | --- |
| KardiaMobile 6L Device Hardware Serial Number | See picture for location |
| KardiaMobile Device Hardware Version | See picture for location |
| KardiaMobile Device Hardware Serial Number | See picture for location |
| KardiaMobile Card Device Hardware Version | See picture for location |
| KardiaMobile Card Device Hardware Serial Number | See picture for location |
| MCP Model Number | Model number of phone/tablet used for testing |
| MCP Serial Number | Serial number of phone/tablet used for testing |
| MCP OS Version | OS version of phone/tablet used for testing |
| MCP Kardia Core App Version | AliveCor SDK version you are using (for example, 1.5.0) |

Kardia Mobile                            KardiaMobile 6L (under battery cover)

KardiaMobile Card

Section 11.1 (fill out only if using if using KM6L)

Make sure each row of the table has a result filled in, even within the same test case. For every acceptance criteria, there must be a separate result.

Special instructions for some tests:

Test 10:  Procedure 5 and 6 should be listed as “pass” if the PDF is available in your app.  If not available in your app, mark as “NA, partner app has not enabled this optional feature”.

Test 20:  Procedure 5 and 6 should be listed as “pass” if the PDF is visible in your app.  If not visible in your app, mark as “NA, partner app has not enabled this optional feature”.

Test 60:  Can be marked as “Pass” if there is a link to the help articles in your app, on the recording screens.  This is a requirement.

Test 190:  Procedures 1-20 should be listed as “pass” if the PDF is visible in your app.  If not visible in your app, mark each result 1-4  as ““NA, partner app has not enabled this optional feature”.

Test 230:  If AIv2 (advanced determinations) are being used, mark procedures 1-3 as “NA”, and procedures 4-5 as “pass”.  If not using AIv2, mark all procedures as ‘NA”

Test 240 and 250.  These can be marked as pass as long as the steps in the Kardia Core user manual section 4 are followed.  This document is in your Box folder under “Regulatory.”

Section 11.2 (fill out only if using if using KardiaMobile single lead)

Make sure each row of the table has a result filled in, even within the same test case. For every acceptance criteria, there must be a separate result.

Special instructions for some tests:

Test 20:  Procedure 5 and 6 should be listed as “pass” if the PDF is visible in your app.  If not visible in your app, mark as “NA, partner app has not enabled this optional feature”.

Test 60:  Can be marked as “Pass” if there is a link to the help articles in your app, on the recording screens.  This is a requirement.

Test 190:  Procedures 1-20 should be listed as “pass” if the PDF is visible in your app.  If not visible in your app, mark each result 1-4 as ““NA, partner app has not enabled this optional feature”.

Test 230:   If AIv2 (advanced determinations) are being used, mark procedures 1-3 as “NA”, and procedures 4-5 as “pass”.  If not using AIv2, mark all procedures as ‘NA”

Tst 240 and 250.  These can be marked as pass if the steps in the Kardia Core user manual section 4 are followed.  This document is in your Box folder under “Regulatory.”

Section 11.3 (fill out only if using if using KardiaMobile Card)

Make sure each row of the table has a result filled in, even within the same test case. For every acceptance criteria, there must be a separate result.

Special instructions for some tests:

test 50:  Can be marked as “Pass” if there is a link to the help articles in your app, on the recording screens.  This is a requirement.

Test 250 can be marked as pass.  This is coved by AliveCor testing.

Test 260.  Test 190:  Procedures 1-20 should be listed as “pass” if the PDF is visible in your app.  If not visible in your app, mark each result 1-4 as ““NA, partner app has not enabled this optional feature”.

Last row of test 260 can be marked as pass.  This is covered by AliveCor testing.

test 330:  Test 230:  If AIv2 (advanced determinations) are being used, mark procedures 1-3 as “NA”, and procedures 4-5 as “pass”.  If not using AIv2, mark all procedures as ‘NA”